Supporting Information for:

Long-Term Monitoring of Water and Air Quality at an Indoor Pool Facility During Modifications of Water Treatment

Lester Lee 1 and Ernest R. Blatchley III 1,2,*

1Lyles School of Civil Engineering, Purdue University, West Lafayette, Indiana, U.S.

2Division of Environmental and Ecological Engineering, Purdue University, West Lafayette, Indiana, U.S.

*Correspondence: blatch@purdue.edu

Table S1. Source water quality analysis.

| Parameter | Reported Value |
| --- | --- |
| pH | 7.4 |
| Alkalinity | 274 mg/L as CaCO3 |
| Fluoride | 0.7 mg/L |
| Orthophosphate | 0.5 mg/L |
| Free Ammonia | 0.09 mg/L |
| Nitrate | 1.1 mg/L |
| Nitrite | 0.009 mg/L |
| Sulfate | 70 mg/L |
| Calcium | 300 mg/L as CaCO3 |
| Magnesium | 124 mg/L as CaCO3 |
| Hardness | 424 mg/L as CaCO3 |

Figure S1. Time-course monitoring of free chlorine, total chlorine and ORP at the studied pool facility.

Figure S2. Schematic of pool water treatment process sequence with chemical dosing points and locations of pool water sampling locations.

Figure S3. Water sampling and NEMo locations in the studied pool facility. Water samples were collected from roughly 20 cm below the water surface.

Figure S4. Time-course monitoring of Relative Humidity (RH) at the studied pool facility. Blue line represents the RH measurements. Black horizontal line represents the 60% threshold and red horizontal line represents the 30% threshold.